## Instructions for use
Crustaceans(Tropomyosin) ELISA Evaluation
0. Switch to the "Form" tab.
2. Type the general information and the calibrator OD´s into the upper grey array of the sheet.
5. Type the sample OD´s into the lower grey array of the sheet.
6. The corresponding Tropomyosin concentrations will be automatically calculated.

## Form
Results of Crustaceans(Tropomyosin) Elisa Kit
[7 empty] | c | OD
General Information | [6 empty] | 0 | 0.043 |  | Geradenpararameter: |  | a | b
[7 empty] | 20 | 0.188 |  | Std1-Std2 |  | 0.00725 | 0.043
Date: | [6 empty] | 60 | 0.445 |  | Std2-Std3 |  | 0.006425 | 0.0595
Operator: | [6 empty] | 200 | 1.21 |  | Std3-Std4 |  | 0.0054643 | 0.11714
Kit Reference: | [6 empty] | 400 | 2.136 |  | Std4-Std5 |  | 0.00463 | 0.284
Lot Number:
Calibrators
|  | 0 ppb | 20 ppb | 60 ppb | 200 ppb | 400 ppb
| OD 1 | 0.043 | 0.188 | 0.445 | 1.21 | 2.136
| OD 2 | 0.043 | 0.188 | 0.445 | 1.21 | 2.136
Samples | [6 empty] | Ergebnissberechnung
| No. | OD 1 | OD 2 | Mean OD | c [ppb] | Result | OD, mean | a | b | Konzentration | Ausgabewert
| 1 | 0.05 | 0.05 | 0.05 | 0.96552 | negative | 0.05 | 0.00725 | 0.043 | 0.96552 | 0.96552
| 2 | 0.1 | 0.1 | 0.1 | 7.8621 | negative | 0.1 | 0.00725 | 0.043 | 7.8621 | 7.8621
| 3 | 0.2 | 0.2 | 0.2 | 21.8677 | positive | 0.2 | 0.006425 | 0.0595 | 21.8677 | 21.8677
| 4 | 0.3 | 0.3 | 0.3 | 37.4319 | positive | 0.3 | 0.006425 | 0.0595 | 37.4319 | 37.4319
| 5 | 0.4 | 0.4 | 0.4 | 52.9961 | positive | 0.4 | 0.006425 | 0.0595 | 52.9961 | 52.9961
| 6 | 0.5 | 0.5 | 0.5 | 70.0654 | positive | 0.5 | 0.0054643 | 0.11714 | 70.0654 | 70.0654
| 7 | 0.6 | 0.6 | 0.6 | 88.366 | positive | 0.6 | 0.0054643 | 0.11714 | 88.366 | 88.366
| 8 | 0.7 | 0.7 | 0.7 | 106.6667 | positive | 0.7 | 0.0054643 | 0.11714 | 106.6667 | 106.6667
| 9 | 0.8 | 0.8 | 0.8 | 124.9673 | positive | 0.8 | 0.0054643 | 0.11714 | 124.9673 | 124.9673
| 10 | 0.9 | 0.9 | 0.9 | 143.268 | positive | 0.9 | 0.0054643 | 0.11714 | 143.268 | 143.268
| 11 | 1 | 1 | 1 | 161.5686 | positive | 1 | 0.0054643 | 0.11714 | 161.5686 | 161.5686
| 12 | 1.2 | 1.2 | 1.2 | 198.1699 | positive | 1.2 | 0.0054643 | 0.11714 | 198.1699 | 198.1699
| 13 | 1.5 | 1.5 | 1.5 | 262.635 | positive | 1.5 | 0.00463 | 0.284 | 262.635 | 262.635
| 14 | 1.8 | 1.8 | 1.8 | 327.4298 | positive | 1.8 | 0.00463 | 0.284 | 327.4298 | 327.4298
| 15 | 2.1 | 2.1 | 2.1 | 392.2246 | positive | 2.1 | 0.00463 | 0.284 | 392.2246 | 392.2246
| 16 | 2.5 | 2.5 | 2.5 | >400 | positive | 2.5 | 0.00463 | 0.284 | 478.6177 | >400
Graphic