## Instructions for use
Egg White ELISA Evaluation
0. Switch to the "Form" tab.
2. Type the general information and the calibrator OD´s into the upper grey array of the sheet.
5. Type the sample OD´s into the lower grey array of the sheet.
6. The corresponding Egg White concentrations will be automatically calculated.

## Form
Results of Egg White Elisa Kit
[7 empty] | c | OD
General Information | [6 empty] | 0 | 0.026 |  | Geradenpararameter: |  | a | b
[7 empty] | 0.4 | 0.268 |  | Std1-Std2 |  | 0.605 | 0.026
Date: | [6 empty] | 1 | 0.509 |  | Std2-Std3 |  | 0.40167 | 0.10733
Operator: | [6 empty] | 4 | 1.249 |  | Std3-Std4 |  | 0.24667 | 0.26233
Kit Reference: | [6 empty] | 10 | 1.863 |  | Std4-Std5 |  | 0.10233 | 0.83967
Lot Number:
Calibrators
|  | 0 ppm | 0.4 ppm | 1 ppm | 4 ppm | 10 ppm
| OD 1 | 0.026 | 0.268 | 0.509 | 1.249 | 1.863
OD 2
Samples | [6 empty] | Ergebnissberechnung
| No. | OD 1 | OD 2 | Mean OD | c [ppm] | Result | OD, mean | a | b | Konzentration | Ausgabewert
| 1 | 0.099 |  | 0.099 | 0.12066 | negative | 0.099 | 0.605 | 0.026 | 0.12066 | 0.12066
| 2 | 0.096 |  | 0.096 | 0.1157 | negative | 0.096 | 0.605 | 0.026 | 0.1157 | 0.1157
| 3 | 0.454 |  | 0.454 | 0.86307 | positive | 0.454 | 0.40167 | 0.10733 | 0.86307 | 0.86307
| 4 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 5 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 6 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 7 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 8 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 9 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 10 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 11 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 12 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 13 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 14 | 1.8 |  | 1.8 | 9.3844 | positive | 1.8 | 0.10233 | 0.83967 | 9.3844 | 9.3844
| 15 | 2.1 | 2.1 | 2.1 | >10 | positive | 2.1 | 0.10233 | 0.83967 | 12.316 | >10
| 16 | 2.5 | 2.5 | 2.5 | >10 | positive | 2.5 | 0.10233 | 0.83967 | 16.2248 | >10
Graphic