## Instructions for use
Walnut ELISA Evaluation
0. Switch to the "Form" tab.
2. Type the general information and the calibrator OD´s into the upper grey array of the sheet.
5. Type the sample OD´s into the lower grey array of the sheet.
6. The corresponding Walnut concentrations will be automatically calculated.

## Form
Results of Walnut Elisa Kit
[7 empty] | c | OD
General Information | [6 empty] | 0 | 0.219 |  | Geradenpararameter: |  | a | b
[7 empty] | 2 | 0.51 |  | Std1-Std2 |  | 0.1455 | 0.219
Date: | [6 empty] | 6 | 0.932 |  | Std2-Std3 |  | 0.1055 | 0.299
Operator: | [6 empty] | 20 | 1.544 |  | Std3-Std4 |  | 0.043714 | 0.66971
Kit Reference: | [6 empty] | 60 | 2.044 |  | Std4-Std5 |  | 0.0125 | 1.294
Lot Number:
Calibrators
|  | 0 ppm | 2 ppm | 6 ppm | 20 ppm | 60 ppm
| OD 1 | 0.219 | 0.51 | 0.932 | 1.544 | 2.044
| OD 2 | 0.219 | 0.51 | 0.932 | 1.544 | 2.044
Samples | [6 empty] | Ergebnissberechnung
| No. | OD 1 | OD 2 | Mean OD | c [ppm] | Result | OD, mean | a | b | Konzentration | Ausgabewert
| 1 | 0.05 | 0.05 | 0.05 | 0 | negative | 0.05 | 0.1455 | 0.219 | -1.1615 | 0
| 2 | 0.1 | 0.1 | 0.1 | 0 | negative | 0.1 | 0.1455 | 0.219 | -0.81787 | 0
| 3 | 0.2 | 0.2 | 0.2 | 0 | negative | 0.2 | 0.1455 | 0.219 | -0.13058 | 0
| 4 | 0.3 | 0.3 | 0.3 | 0.5567 | negative | 0.3 | 0.1455 | 0.219 | 0.5567 | 0.5567
| 5 | 0.4 | 0.4 | 0.4 | 1.244 | negative | 0.4 | 0.1455 | 0.219 | 1.244 | 1.244
| 6 | 0.5 | 0.5 | 0.5 | 1.9313 | negative | 0.5 | 0.1455 | 0.219 | 1.9313 | 1.9313
| 7 | 0.6 | 0.6 | 0.6 | 2.8531 | positive | 0.6 | 0.1055 | 0.299 | 2.8531 | 2.8531
| 8 | 0.7 | 0.7 | 0.7 | 3.8009 | positive | 0.7 | 0.1055 | 0.299 | 3.8009 | 3.8009
| 9 | 0.8 | 0.8 | 0.8 | 4.7488 | positive | 0.8 | 0.1055 | 0.299 | 4.7488 | 4.7488
| 10 | 0.9 | 0.9 | 0.9 | 5.6967 | positive | 0.9 | 0.1055 | 0.299 | 5.6967 | 5.6967
| 11 | 1 | 1 | 1 | 7.5556 | positive | 1 | 0.043714 | 0.66971 | 7.5556 | 7.5556
| 12 | 1.2 | 1.2 | 1.2 | 12.1307 | positive | 1.2 | 0.043714 | 0.66971 | 12.1307 | 12.1307
| 13 | 1.5 | 1.5 | 1.5 | 18.9935 | positive | 1.5 | 0.043714 | 0.66971 | 18.9935 | 18.9935
| 14 | 1.8 | 1.8 | 1.8 | 40.48 | positive | 1.8 | 0.0125 | 1.294 | 40.48 | 40.48
| 15 | 2.1 | 2.1 | 2.1 | >60 | positive | 2.1 | 0.0125 | 1.294 | 64.48 | >60
| 16 | 2.5 | 2.5 | 2.5 | >60 | positive | 2.5 | 0.0125 | 1.294 | 96.48 | >60
Graphic